## Summary
Phase Summary Item Description |  | Phase 1 |  | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Phase 7 |  | Phase 8
SW3P & Site Work |  | 482163.4 | 3235.996 | 185393 | 1471.373 | 180854.5 | 1690.229 | 179220 | 1886.5263 | 176471 | 1200.483 | 183268 | 1814.5347 | 177092 | 1553.4386 | 174739.5 | 2080.2321
Street Improvements |  | 1342986.6 | 9013.3329 | 629875.25 | 4999.0099 | 908238.8667 | 8488.2137 | 543208.4 | 5717.9832 | 1444749.15 | 9828.2255 | 887653.55 | 8788.649 | 652878.15 | 5727.0013 | 435260.6 | 5181.6738
Storm Drain Improvements |  | 735230.7 | 4934.4342 | 300712 | 2386.6032 | 76573.7 | 715.6421 | 234595.4 | 2469.4253 | 820453.2 | 5581.3143 | 227056.9 | 2248.0881 | 225484.5 | 1977.9342 | 150750 | 1794.6429
Sanitary Sewer Improvements |  | 639206 | 4289.9732 | 423833 | 3363.754 | 359455.5 | 3359.3972 | 265800 | 2797.8947 | 429587.5 | 2922.3639 | 366971.25 | 3633.3787 | 260826 | 2287.9474 | 196391.75 | 2337.997
Water Improvements |  | 489375 | 3284.396 | 249022.25 | 1976.3671 | 332800.5 | 3110.285 | 226534.5 | 2384.5737 | 354717.5 | 2413.0442 | 312577.75 | 3094.8292 | 233435.25 | 2047.6776 | 111425 | 1326.4881
Dry Utilities |  | 357600 | 2400 | 302400 | 2400 | 256800 | 2400 | 228000 | 2400 | 352800 | 2400 | 242400 | 2400 | 273600 | 2400 | 201600 | 2400
Bonds, Mobilization, Prep ROW Insurance |  | 202328.085 | 1357.9066 | 104561.775 | 829.8554 | 105736.1533 | 988.1883 | 83867.915 | 882.8202 | 178938.9175 | 1217.2715 | 110996.3725 | 1098.974 | 91165.795 | 799.7 | 63508.3425 | 756.0517
Subtotal |  | 4248889.785 | 28516.0388 | 2195797.275 | 17426.9625 | 2220459.22 | 20751.9553 | 1761226.215 | 18539.2233 | 3757717.2675 | 25562.7025 | 2330923.8225 | 23078.4537 | 1914481.695 | 16793.6991 | 1333675.1925 | 15877.0856
Number of Lots |  | 149 |  | 126 |  | 107 |  | 95 |  | 147 |  | 101 |  | 114 |  | 84
Cost Per Lot |  | 28516.0388 |  | 17426.9625 |  | 20751.9553 |  | 18539.2233 |  | 25562.7025 |  | 23078.4537 |  | 16793.6991 |  | 15877.0856
Traffic Light | [7 empty] | 300000
TxDOT Improvements |  | 302625 | [5 empty] | 0
Pieper Improvements |  | 897433.4494 | [5 empty] | 0
Sewer |  | 48148.5 | [5 empty] | 0
Bonds, Mobilization, Prep ROW Insurance |  | 47410.3475 | [5 empty] | 15000
Offsite Subtotal |  | 1310617.2969 | [5 empty] | 315000
Parkside Phase 1 Subtotal |  | 4248889.785 | [5 empty] | 1761226.215
Parkside Phase 1 & Offsite |  | 5559507.0819 | [5 empty] | 2076226.215
Number of Lots |  | 149 | [5 empty] | 95
Cost Per Lot |  | 37312.1281 | [5 empty] | 21855.0128
Parkside Development Totals
Parkside Development Subtotal |  | 19763170.4725
Number of Lots |  | 923
Cost Per Lot |  | 21411.8857
Offsite Subtotal |  | 1625617.2969
Parkside Development + Offsite |  | 21388787.7694
Cost Per Lot |  | 23173.1178
Excludes Temporary Channels
Bid Results
| Lowden | 7 Site | VKK | Yantis | Capital Excavation
Offsite | 1021335.72 | 1153655.74
Phase 1 | 4557538.61 | 4472784.37
Total | 5578874.33 | 5626440.11 | 5792490.1 | 5921499.4 | 6554428.65
Difference vs OPC | 19367.2481 | 66933.0281 | 232983.0181 | 361992.3181 | 994921.5681

## Phase 1
Opinion of Probable Cost
Parkside Subdivision Phase 1
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 482163.4 | 3235.996
|  | STREETS |  | 1342986.6 | 9013.3329
|  | STORM DRAIN |  | 735230.7 | 4934.4342
|  | SEWER |  | 639206 | 4289.9732
|  | WATER |  | 489375 | 3284.396
|  | DRY UTILITIES |  | 357600 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 202328.085 | 1357.9066
|  | TOTAL |  | 4248889.785 | 28516.0388
|  | Lots | 149
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 107719 | 3.6 | 387788.4
| 2 | Site Embankment | CY | 18745 | 3 | 56235
| 3 | Curb Inlet Protection (Filter Dike) | EA | 7 | 300 | 2100
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 7877 | 2.5 | 19692.5
| 7 | Clear & Grub/Strip Top Soil | AC | 51.65 | 150 | 7747.5
| 8 | Rock Filter Berm | LF | 250 | 26 | 6500
[5 empty] | SUBTOTAL | 482163.4
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 3235.996
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 15861 | 10.25 | 162575.25
| 2 | 11" Flex Base (Local) | SY | 21007 | 12.1 | 254184.7
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 21007 | 6.75 | 141797.25
| 4 | 1.5" Type D HMAC (Collector) | SY | 6867 | 8.25 | 56652.75 | 5517.5556
| 5 | 2.5" Type C HMAC (Collector) | SY | 6867 | 12.5 | 85837.5
| 6 | 17.5" Flex Base (Collector) | SY | 7951 | 16.4 | 130396.4
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 7951 | 7.25 | 57644.75
| 8 | Prime Coat | GAL | 4545.6 | 5 | 22728
| 9 | Curb & Gutter | LF | 12800 | 18 | 230400
| 10 | Valley Gutter | SY | 274 | 40 | 10960
| 11 | Temporary Turn-Around | SY | 0 | 15 | 0
| 12 | Ribbon Curb | LF | 250 | 16 | 4000
| 13 | Bollards | EA | 26 | 175 | 4550
| 14 | 6" Sch 40 Conduit | LF | 690 | 24 | 16560
| 15 | 10' Hike & Bike | SY | 1050 | 50 | 52500
| 16 | Sidewalk | SY | 870 | 50 | 43500
| 17 | ADA Ramps | EA | 56 | 950 | 53200
| 18 | Mailbox Pads | EA | 11 | 800 | 8800
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 1342986.6
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 9013.3329
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc (Outlet Structure, Perforated Pipe, Headwall, Etc.) | LS | 1 | 50000 | 50000
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 1050 | 35 | 36750
| 5 | 5' Inlet | EA | 2 | 5000 | 10000
| 6 | 10' Inlet | EA | 4 | 7500 | 30000
| 7 | 20' Inlet | EA | 2 | 15000 | 30000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF |  | 150 | 0
| 10 | 36" RCP | LF | 28 | 200 | 5600
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF | 90 | 850 | 76500
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 150 | 1050 | 157500
| 18 | 9'x4'Box Culvert | LF | 71 | 1050 | 74550
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 6 | 15000 | 90000
| 27 | Sidewalk Box | EA | 2 | 8000 | 16000
| 28 | Gabbion Mattress | SY | 275 | 60 | 16500
| 28 | Storm Retards | SY | 1485 | 40 | 59400
| 29 | Reveg | SY | 74937 | 1.1 | 82430.7
[5 empty] | SUBTOTAL | 735230.7
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 4934.4342
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 3608 | 30 | 108240
| 2 | 12" Sanitary Sewer Pipe | LF | 1940 | 40 | 77600
| 3 | 18" Sanitary Sewer Pipe | LF | 820 | 50 | 41000
| 4 | Standard Sanitary Manholes | EA | 31 | 3600 | 111600
| 5 | Extra Depth Manhole | VF | 124 | 500 | 62000
| 6 | Trench Excavation Protection | LF | 6368 | 1.25 | 7960
| 7 | TV Inspection of Sewer Main | LF | 6368 | 2 | 12736
| 8 | 6" Service Laterals | LF | 5425 | 38 | 206150
| 9 | Connect to Existing Manhole | EA | 1 | 5000 | 5000
| 10 | Connect to Existing Stub-Out | EA | 0 | 1500 | 0
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 5 | 1000 | 5000
| 13 | Concrete Encasement | CY | 48 | 40 | 1920
[5 empty] | SUBTOTAL | 639206
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 4289.9732
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 4820 | 30 | 144600
| 2 | 12" C900 Water Line | LF | 1220 | 40 | 48800
| 3 | 8" Ductile Iron Water Line | LF | 640 | 70 | 44800
| 4 | 12" Ductile Iron Water Line | LF | 420 | 80 | 33600
| 5 | Trench Excavation Safety Protection | LF | 7100 | 0.75 | 5325
| 6 | Fire Hydrant Assembly | EA | 11 | 3300 | 36300
| 7 | 1" Dual Water Service Long | EA | 16 | 875 | 14000
| 8 | 1" Dual Water Service Short | EA | 39 | 600 | 23400
| 9 | 3/4" Single Water Service Long | EA | 16 | 725 | 11600
| 10 | 3/4" Single Water Service Short | EA | 23 | 550 | 12650 | 149
| 11 | 2" Service to Parks | EA | 5 | 1200 | 6000 | 138
| 12 | 1" Irrigation Meter (At Parks and Channels) | EA | 4 | 910 | 3640
| 13 | 2" Domestic Meter (At Parks) | EA | 1 | 910 | 910
| 14 | Meter Boxes | EA | 149 | 250 | 37250
| 15 | Tie-in | EA | 1 | 4000 | 4000
| 16 | 2" Temporary Blow Off | EA | 5 | 1500 | 7500
| 17 | Pipe Fittings | TN | 3.1 | 4000 | 12400
| 18 | 8" Gate Valve MJ w/ box | EA | 20 | 1500 | 30000
| 19 | 12" Gate Valve MJ w/ box | EA | 7 | 1800 | 12600
[5 empty] | SUBTOTAL | 489375
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 3284.396
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 149 | 2400 | 357600
[5 empty] | SUBTOTAL | 357600
[5 empty] | NUMBER OF LOTS | 149
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 4046561.7
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 202328.085
[5 empty] | SUBTOTAL | 202328.085
|  |  |  | TOTAL COST |  | 4248889.785
|  |  |  | NUMBER OF LOTS |  | 149
|  |  |  | COST PER LOT |  | 28516.0388
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 2
Opinion of Probable Cost
Parkside Subdivision Phase 2
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 185393 | 1471.373
|  | STREETS |  | 629875.25 | 4999.0099
|  | STORM DRAIN |  | 300712 | 2386.6032
|  | SEWER |  | 423833 | 3363.754
|  | WATER |  | 249022.25 | 1976.3671
|  | DRY UTILITIES |  | 302400 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 104561.775 | 829.8554
|  | TOTAL |  | 2195797.275 | 17426.9625
|  | Lots | 126
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 5 | 300 | 1500
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 4485 | 2.5 | 11212.5
| 7 | Clear & Grub/Strip Top Soil | AC | 19.87 | 150 | 2980.5
| 8 | Rock Filter Berm | LF | 100 | 26 | 2600
[5 empty] | SUBTOTAL | 185393
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 1471.373
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 11320 | 10.25 | 116030
| 2 | 11" Flex Base (Local) | SY | 13645 | 12.1 | 165104.5
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 13645 | 6.75 | 92103.75
| 4 | 1.5" Type D HMAC (Collector) | SY | 0 | 8.25 | 0
| 5 | 2.5" Type C HMAC (Collector) | SY | 0 | 12.5 | 0
| 6 | 17.5" Flex Base (Collector) | SY | 0 | 16.4 | 0
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 0 | 7.25 | 0
| 8 | Prime Coat | GAL | 2729 | 5 | 13645
| 9 | Curb & Gutter | LF | 6780 | 18 | 122040
| 10 | Valley Gutter | SY | 350 | 40 | 14000
| 11 | Temporary Turn-Around | SY | 1042 | 15 | 15630
| 12 | Ribbon Curb | LF | 1517 | 16 | 24272
| 13 | Bollards | EA | 50 | 175 | 8750
| 14 | 6" Sch 40 Conduit | LF | 300 | 24 | 7200
| 15 | 10' Hike & Bike | SY | 0 | 50 | 0
| 16 | Sidewalk | SY | 288 | 50 | 14400
| 17 | ADA Ramps | EA | 24 | 950 | 22800
| 18 | Mailbox Pads | EA | 9 | 800 | 7200
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 629875.25
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 4999.0099
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 1 | 50000 | 50000
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 745 | 35 | 26075
| 5 | 5' Inlet | EA | 0 | 5000 | 0
| 6 | 10' Inlet | EA | 0 | 7500 | 0
| 7 | 20' Inlet | EA | 2 | 15000 | 30000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 50 | 300 | 15000
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 50 | 1300 | 65000
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 0 | 1050 | 0
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 4 | 15000 | 60000
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 0 | 60 | 0
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 49670 | 1.1 | 54637
[5 empty] | SUBTOTAL | 300712
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 2386.6032
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 3082 | 30 | 92460
| 2 | 12" Sanitary Sewer Pipe | LF | 3082 | 40 | 123280
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 7 | 3600 | 25200
| 5 | Extra Depth Manhole | VF | 28 | 500 | 14000
| 6 | Trench Excavation Protection | LF | 6164 | 1.25 | 7705
| 7 | TV Inspection of Sewer Main | LF | 6164 | 2 | 12328
| 8 | 6" Service Laterals | LF | 3720 | 38 | 141360
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 3 | 1500 | 4500
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 3 | 1000 | 3000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 423833
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 3363.754
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 2950 | 30 | 88500
| 2 | 12" C900 Water Line | LF | 343 | 40 | 13720
| 3 | 8" Ductile Iron Water Line | LF | 200 | 70 | 14000
| 4 | 12" Ductile Iron Water Line | LF | 50 | 80 | 4000
| 5 | Trench Excavation Safety Protection | LF | 3543 | 0.75 | 2657.25
| 6 | Fire Hydrant Assembly | EA | 3 | 3300 | 9900
| 7 | 1" Dual Water Service Long | EA | 27 | 875 | 23625
| 8 | 1" Dual Water Service Short | EA | 30 | 600 | 18000 | 126
| 9 | 3/4" Single Water Service Long | EA | 4 | 725 | 2900
| 10 | 3/4" Single Water Service Short | EA | 8 | 550 | 4400
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 2 | 910 | 1820
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 126 | 250 | 31500
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 3 | 1500 | 4500
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 9 | 1500 | 13500
| 19 | 12" Gate Valve MJ w/ box | EA | 0 | 1800 | 0
[5 empty] | SUBTOTAL | 249022.25
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 1976.3671
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 126 | 2400 | 302400
[5 empty] | SUBTOTAL | 302400
[5 empty] | NUMBER OF LOTS | 126
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 2091235.5
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 104561.775
[5 empty] | SUBTOTAL | 104561.775
|  |  |  | TOTAL COST |  | 2195797.275
|  |  |  | NUMBER OF LOTS |  | 126
|  |  |  | COST PER LOT |  | 17426.9625
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 3
Opinion of Probable Cost
Parkside Subdivision Phase 3
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 180854.5 | 1690.229
|  | STREETS |  | 908238.8667 | 8488.2137
|  | STORM DRAIN |  | 76573.7 | 715.6421
|  | SEWER |  | 359455.5 | 3359.3972
|  | WATER |  | 332800.5 | 3110.285
|  | DRY UTILITIES |  | 256800 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 105736.1533 | 988.1883
|  | TOTAL |  | 2220459.22 | 20751.9553
|  | Lots | 107
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 2 | 300 | 600
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 4180 | 2.5 | 10450
| 7 | Clear & Grub/Strip Top Soil | AC | 18.03 | 150 | 2704.5
| 8 | Rock Filter Berm | LF | 0 | 26 | 0
[5 empty] | SUBTOTAL | 180854.5
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 1690.229
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 8062 | 10.25 | 82635.5
| 2 | 11" Flex Base (Local) | SY | 9879 | 12.1 | 119535.9
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 9879 | 6.75 | 66683.25
| 4 | 1.5" Type D HMAC (Collector) | SY | 6357 | 8.25 | 52445.25
| 5 | 2.5" Type C HMAC (Collector) | SY | 6357 | 12.5 | 79462.5
| 6 | 17.5" Flex Base (Collector) | SY | 7352 | 16.4 | 120572.8
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 7352 | 7.25 | 53302
| 8 | Prime Coat | GAL | 2883.8 | 5 | 14419
| 9 | Curb & Gutter | LF | 7722 | 18 | 138996
| 10 | Valley Gutter | SY | 92 | 40 | 3680
| 11 | Temporary Turn-Around | SY | 3126 | 15 | 46890
| 12 | Ribbon Curb | LF | 460 | 16 | 7360
| 13 | Bollards | EA | 46 | 175 | 8050
| 14 | 6" Sch 40 Conduit | LF | 0 | 24 | 0
| 15 | 10' Hike & Bike | SY | 1166 | 50 | 58300
| 16 | Sidewalk | SY | 148 | 50 | 7400
| 17 | ADA Ramps | EA | 38 | 950 | 36100
| 18 | Mailbox Pads | EA | 7.1333 | 800 | 5706.6667
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 908238.8667
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 8488.2137
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 300 | 35 | 10500
| 5 | 5' Inlet | EA | 3 | 5000 | 15000
| 6 | 10' Inlet | EA | 1 | 7500 | 7500
| 7 | 20' Inlet | EA | 2 | 15000 | 30000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 0 | 1050 | 0
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 0 | 15000 | 0
| 27 | Sidewalk Box | EA | 1 | 8000 | 8000
| 28 | Gabbion Mattress | SY | 0 | 60 | 0
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 5067 | 1.1 | 5573.7
[5 empty] | SUBTOTAL | 76573.7
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 715.6421
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 3131 | 30 | 93930
| 2 | 12" Sanitary Sewer Pipe | LF | 1275 | 40 | 51000
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 12 | 3600 | 43200
| 5 | Extra Depth Manhole | VF | 24 | 500 | 12000
| 6 | Trench Excavation Protection | LF | 4406 | 1.25 | 5507.5
| 7 | TV Inspection of Sewer Main | LF | 4406 | 2 | 8812
| 8 | 6" Service Laterals | LF | 3487 | 38 | 132506
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 3 | 1500 | 4500
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 8 | 1000 | 8000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 359455.5
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 3359.3972
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 3434 | 30 | 103020
| 2 | 12" C900 Water Line | LF | 1080 | 40 | 43200
| 3 | 8" Ductile Iron Water Line | LF | 360 | 70 | 25200
| 4 | 12" Ductile Iron Water Line | LF | 200 | 80 | 16000
| 5 | Trench Excavation Safety Protection | LF | 5074 | 0.75 | 3805.5
| 6 | Fire Hydrant Assembly | EA | 5 | 3300 | 16500
| 7 | 1" Dual Water Service Long | EA | 23 | 875 | 20125
| 8 | 1" Dual Water Service Short | EA | 23 | 600 | 13800 | 107
| 9 | 3/4" Single Water Service Long | EA | 8 | 725 | 5800
| 10 | 3/4" Single Water Service Short | EA | 7 | 550 | 3850
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 0 | 910 | 0
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 106 | 250 | 26500
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 8 | 1500 | 12000
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 12 | 1500 | 18000
| 19 | 12" Gate Valve MJ w/ box | EA | 5 | 1800 | 9000
[5 empty] | SUBTOTAL | 332800.5
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 3110.285
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 107 | 2400 | 256800
[5 empty] | SUBTOTAL | 256800
[5 empty] | NUMBER OF LOTS | 107
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 2114723.0667
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 105736.1533
[5 empty] | SUBTOTAL | 105736.1533
|  |  |  | TOTAL COST |  | 2220459.22
|  |  |  | NUMBER OF LOTS |  | 107
|  |  |  | COST PER LOT |  | 20751.9553
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 4
Opinion of Probable Cost
Parkside Subdivision Phase 4
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 179220 | 1886.5263
|  | STREETS |  | 543208.4 | 5717.9832
|  | STORM DRAIN |  | 234595.4 | 2469.4253
|  | SEWER |  | 265800 | 2797.8947
|  | WATER |  | 226534.5 | 2384.5737
|  | DRY UTILITIES |  | 228000 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 83867.915 | 882.8202
|  | TOTAL |  | 1761226.215 | 18539.2233
|  | Lots | 95
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 2 | 300 | 600
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 3570 | 2.5 | 8925
| 7 | Clear & Grub/Strip Top Soil | AC | 17.3 | 150 | 2595
| 8 | Rock Filter Berm | LF | 0 | 26 | 0
[5 empty] | SUBTOTAL | 179220
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 1886.5263
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 10147 | 10.25 | 104006.75
| 2 | 11" Flex Base (Local) | SY | 12209 | 12.1 | 147728.9
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 12209 | 6.75 | 82410.75
| 4 | 1.5" Type D HMAC (Collector) | SY | 0 | 8.25 | 0
| 5 | 2.5" Type C HMAC (Collector) | SY | 0 | 12.5 | 0
| 6 | 17.5" Flex Base (Collector) | SY | 0 | 16.4 | 0
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 0 | 7.25 | 0
| 8 | Prime Coat | GAL | 2029.4 | 5 | 10147
| 9 | Curb & Gutter | LF | 6170 | 18 | 111060
| 10 | Valley Gutter | SY | 138 | 40 | 5520
| 11 | Temporary Turn-Around | SY | 2084 | 15 | 31260
| 12 | Ribbon Curb | LF | 150 | 16 | 2400
| 13 | Bollards | EA | 15 | 175 | 2625
| 14 | 6" Sch 40 Conduit | LF | 0 | 24 | 0
| 15 | 10' Hike & Bike | SY | 0 | 50 | 0
| 16 | Sidewalk | SY | 86 | 50 | 4300
| 17 | ADA Ramps | EA | 31 | 950 | 29450
| 18 | Mailbox Pads | EA | 7 | 800 | 5600
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 543208.4
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 5717.9832
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 652 | 35 | 22820
| 5 | 5' Inlet | EA | 1 | 5000 | 5000
| 6 | 10' Inlet | EA | 2 | 7500 | 15000
| 7 | 20' Inlet | EA | 3 | 15000 | 45000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 70 | 1050 | 73500
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 4 | 15000 | 60000
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 45 | 60 | 2700
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 9614 | 1.1 | 10575.4
[5 empty] | SUBTOTAL | 234595.4
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 2469.4253
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 3000 | 30 | 90000
| 2 | 12" Sanitary Sewer Pipe | LF | 0 | 40 | 0
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 7 | 3600 | 25200
| 5 | Extra Depth Manhole | VF | 14 | 500 | 7000
| 6 | Trench Excavation Protection | LF | 3000 | 1.25 | 3750
| 7 | TV Inspection of Sewer Main | LF | 3000 | 2 | 6000
| 8 | 6" Service Laterals | LF | 3325 | 38 | 126350
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 3 | 1500 | 4500
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 3 | 1000 | 3000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 265800
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 2797.8947
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 3046 | 30 | 91380
| 2 | 12" C900 Water Line | LF | 0 | 40 | 0
| 3 | 8" Ductile Iron Water Line | LF | 360 | 70 | 25200
| 4 | 12" Ductile Iron Water Line | LF | 0 | 80 | 0
| 5 | Trench Excavation Safety Protection | LF | 3406 | 0.75 | 2554.5
| 6 | Fire Hydrant Assembly | EA | 3 | 3300 | 9900 | 95
| 7 | 1" Dual Water Service Long | EA | 19 | 875 | 16625
| 8 | 1" Dual Water Service Short | EA | 24 | 600 | 14400
| 9 | 3/4" Single Water Service Long | EA | 3 | 725 | 2175
| 10 | 3/4" Single Water Service Short | EA | 6 | 550 | 3300
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 0 | 910 | 0
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 96 | 250 | 24000
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 3 | 1500 | 4500
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 11 | 1500 | 16500
| 19 | 12" Gate Valve MJ w/ box | EA | 0 | 1800 | 0
[5 empty] | SUBTOTAL | 226534.5
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 2384.5737
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 95 | 2400 | 228000
[5 empty] | SUBTOTAL | 228000
[5 empty] | NUMBER OF LOTS | 95
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 1677358.3
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 83867.915
[5 empty] | SUBTOTAL | 83867.915
|  |  |  | TOTAL COST |  | 1761226.215
|  |  |  | NUMBER OF LOTS |  | 95
|  |  |  | COST PER LOT |  | 18539.2233
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 5
Opinion of Probable Cost
Parkside Subdivision Phase 5
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 176471 | 1200.483
|  | STREETS |  | 1444749.15 | 9828.2255
|  | STORM DRAIN |  | 820453.2 | 5581.3143
|  | SEWER |  | 429587.5 | 2922.3639
|  | WATER |  | 354717.5 | 2413.0442
|  | DRY UTILITIES |  | 352800 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 178938.9175 | 1217.2715
|  | TOTAL |  | 3757717.2675 | 25562.7025
|  | Lots | 147
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 6 | 300 | 1800
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF |  | 2.5 | 0
| 7 | Clear & Grub/Strip Top Soil | AC | 33.14 | 150 | 4971
| 8 | Rock Filter Berm | LF | 100 | 26 | 2600
[5 empty] | SUBTOTAL | 176471
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 1200.483
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 12791 | 10.25 | 131107.75
| 2 | 11" Flex Base (Local) | SY | 15439 | 12.1 | 186811.9
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 15439 | 6.75 | 104213.25
| 4 | 1.5" Type D HMAC (Collector) | SY | 11596 | 8.25 | 95667
| 5 | 2.5" Type C HMAC (Collector) | SY | 13275 | 12.5 | 165937.5
| 6 | 17.5" Flex Base (Collector) | SY | 13275 | 16.4 | 217710
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 13275 | 7.25 | 96243.75
| 8 | Prime Coat | GAL | 4877.4 | 5 | 24387
| 9 | Curb & Gutter | LF | 13057 | 18 | 235026
| 10 | Valley Gutter | SY | 92 | 40 | 3680
| 11 | Temporary Turn-Around | SY | 2084 | 15 | 31260
| 12 | Ribbon Curb | LF | 110 | 16 | 1760
| 13 | Bollards | EA | 11 | 175 | 1925
| 14 | 6" Sch 40 Conduit | LF | 330 | 24 | 7920
| 15 | 10' Hike & Bike | SY | 903 | 50 | 45150
| 16 | Sidewalk | SY | 1055 | 50 | 52750
| 17 | ADA Ramps | EA | 30 | 950 | 28500
| 18 | Mailbox Pads | EA | 10 | 800 | 8000
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 1444749.15
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 9828.2255
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 1 | 50000 | 50000
| 4 | 4' Concrete Pilot Channel | SY | 270 | 35 | 9450
| 5 | 5' Inlet | EA | 0 | 5000 | 0
| 6 | 10' Inlet | EA | 5 | 7500 | 37500
| 7 | 20' Inlet | EA | 1 | 15000 | 15000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 460 | 1150 | 529000
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 70 | 1050 | 73500
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 5 | 15000 | 75000
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 60 | 60 | 3600
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 24912 | 1.1 | 27403.2
[5 empty] | SUBTOTAL | 820453.2
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 5581.3143
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 4150 | 30 | 124500
| 2 | 12" Sanitary Sewer Pipe | LF | 1160 | 40 | 46400
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 12 | 3600 | 43200
| 5 | Extra Depth Manhole | VF | 24 | 500 | 12000
| 6 | Trench Excavation Protection | LF | 5310 | 1.25 | 6637.5
| 7 | TV Inspection of Sewer Main | LF | 5310 | 2 | 10620
| 8 | 6" Service Laterals | LF | 4585 | 38 | 174230
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 6 | 1500 | 9000
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 3 | 1000 | 3000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 429587.5
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 2922.3639
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 4087 | 30 | 122610
| 2 | 12" C900 Water Line | LF | 968 | 40 | 38720
| 3 | 8" Ductile Iron Water Line | LF | 320 | 70 | 22400
| 4 | 12" Ductile Iron Water Line | LF | 195 | 80 | 15600
| 5 | Trench Excavation Safety Protection | LF | 5570 | 0.75 | 4177.5
| 6 | Fire Hydrant Assembly | EA | 2 | 3300 | 6600
| 7 | 1" Dual Water Service Long | EA | 30 | 875 | 26250
| 8 | 1" Dual Water Service Short | EA | 40 | 600 | 24000 | 147
| 9 | 3/4" Single Water Service Long | EA | 2 | 725 | 1450
| 10 | 3/4" Single Water Service Short | EA | 5 | 550 | 2750
| 11 | 2" Service to Parks | EA | 1 | 1200 | 1200
| 12 | Irrigation Meter (At Parks and Channels) | EA | 1 | 910 | 910
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 147 | 250 | 36750
| 15 | Tie-in | EA | 8 | 4000 | 32000
| 16 | 2" Temporary Blow Off | EA | 2 | 1500 | 3000
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 7 | 1500 | 10500
| 19 | 12" Gate Valve MJ w/ box | EA | 1 | 1800 | 1800
[5 empty] | SUBTOTAL | 354717.5
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 2413.0442
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 147 | 2400 | 352800
[5 empty] | SUBTOTAL | 352800
[5 empty] | NUMBER OF LOTS | 147
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 3578778.35
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 178938.9175
[5 empty] | SUBTOTAL | 178938.9175
|  |  |  | TOTAL COST |  | 3757717.2675
|  |  |  | NUMBER OF LOTS |  | 147
|  |  |  | COST PER LOT |  | 25562.7025
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 6
Opinion of Probable Cost
Parkside Subdivision Phase 6
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 183268 | 1814.5347
|  | STREETS |  | 887653.55 | 8788.649
|  | STORM DRAIN |  | 227056.9 | 2248.0881
|  | SEWER |  | 366971.25 | 3633.3787
|  | WATER |  | 312577.75 | 3094.8292
|  | DRY UTILITIES |  | 242400 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 110996.3725 | 1098.974
|  | TOTAL |  | 2330923.8225 | 23078.4537
|  | Lots | 101
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 2 | 300 | 600
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 4645 | 2.5 | 11612.5
| 7 | Clear & Grub/Strip Top Soil | AC | 26.37 | 150 | 3955.5
| 8 | Rock Filter Berm | LF | 0 | 26 | 0
[5 empty] | SUBTOTAL | 183268
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 1814.5347
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 11655 | 10.25 | 119463.75 | 11654.4444
| 2 | 11" Flex Base (Local) | SY | 14101 | 12.1 | 170622.1
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 14101 | 6.75 | 95181.75
| 4 | 1.5" Type D HMAC (Collector) | SY | 4220 | 8.25 | 34815 | 4220.4444
| 5 | 2.5" Type C HMAC (Collector) | SY | 4220 | 12.5 | 52750
| 6 | 17.5" Flex Base (Collector) | SY | 4903 | 16.4 | 80409.2
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 4903 | 7.25 | 35546.75
| 8 | Prime Coat | GAL | 3175 | 5 | 15875
| 9 | Curb & Gutter | LF | 9020 | 18 | 162360
| 10 | Valley Gutter | SY | 230 | 40 | 9200
| 11 | Temporary Turn-Around | SY | 0 | 15 | 0
| 12 | Ribbon Curb | LF | 160 | 16 | 2560
| 13 | Bollards | EA | 16 | 175 | 2800
| 14 | 6" Sch 40 Conduit | LF | 180 | 24 | 4320
| 15 | 10' Hike & Bike | SY | 0 | 50 | 0
| 16 | Sidewalk | SY | 1067 | 50 | 53350
| 17 | ADA Ramps | EA | 38 | 950 | 36100
| 18 | Mailbox Pads | EA | 7 | 800 | 5600
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 887653.55
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 8788.649
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 465 | 35 | 16275
| 5 | 5' Inlet | EA | 3 | 5000 | 15000
| 6 | 10' Inlet | EA | 2 | 7500 | 15000
| 7 | 20' Inlet | EA | 1 | 15000 | 15000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0 |  | 25FT
| 10 | 36" RCP | LF | 0 | 200 | 0 |  | 30 FT
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 0 | 950 | 0
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 70 | 1300 | 91000
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 0 | 1050 | 0
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 4 | 15000 | 60000
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 90 | 60 | 5400
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 8529 | 1.1 | 9381.9
[5 empty] | SUBTOTAL | 227056.9
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 2248.0881
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 3761 | 30 | 112830
| 2 | 12" Sanitary Sewer Pipe | LF | 905 | 40 | 36200
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 19 | 3600 | 68400
| 5 | Extra Depth Manhole | VF | 38 | 500 | 19000
| 6 | Trench Excavation Protection | LF | 905 | 1.25 | 1131.25
| 7 | TV Inspection of Sewer Main | LF | 905 | 2 | 1810
| 8 | 6" Service Laterals | LF | 3200 | 38 | 121600
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 2 | 1500 | 3000
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 3 | 1000 | 3000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 366971.25
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 3633.3787
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 3645 | 30 | 109350
| 2 | 12" C900 Water Line | LF | 772 | 40 | 30880
| 3 | 8" Ductile Iron Water Line | LF | 460 | 70 | 32200
| 4 | 12" Ductile Iron Water Line | LF | 120 | 80 | 9600
| 5 | Trench Excavation Safety Protection | LF | 4997 | 0.75 | 3747.75
| 6 | Fire Hydrant Assembly | EA | 5 | 3300 | 16500
| 7 | 1" Dual Water Service Long | EA | 16 | 875 | 14000
| 8 | 1" Dual Water Service Short | EA | 29 | 600 | 17400 | 101
| 9 | 3/4" Single Water Service Long | EA | 4 | 725 | 2900
| 10 | 3/4" Single Water Service Short | EA | 7 | 550 | 3850
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 0 | 910 | 0
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 101 | 250 | 25250
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 3 | 1500 | 4500
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 14 | 1500 | 21000
| 19 | 12" Gate Valve MJ w/ box | EA | 3 | 1800 | 5400
[5 empty] | SUBTOTAL | 312577.75
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 3094.8292
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 101 | 2400 | 242400
[5 empty] | SUBTOTAL | 242400
[5 empty] | NUMBER OF LOTS | 101
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 2219927.45
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 110996.3725
[5 empty] | SUBTOTAL | 110996.3725
|  |  |  | TOTAL COST |  | 2330923.8225
|  |  |  | NUMBER OF LOTS |  | 101
|  |  |  | COST PER LOT |  | 23078.4537
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 7
Opinion of Probable Cost
Parkside Subdivision Phase 7
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 177092 | 1553.4386
|  | STREETS |  | 652878.15 | 5727.0013
|  | STORM DRAIN |  | 225484.5 | 1977.9342
|  | SEWER |  | 260826 | 2287.9474
|  | WATER |  | 233435.25 | 2047.6776
|  | DRY UTILITIES |  | 273600 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 91165.795 | 799.7
|  | TOTAL |  | 1914481.695 | 16793.6991
|  | Lots | 114
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 2 | 300 | 600
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 2645 | 2.5 | 6612.5
| 7 | Clear & Grub/Strip Top Soil | AC | 18.53 | 150 | 2779.5
| 8 | Rock Filter Berm | LF | 0 | 26 | 0
[5 empty] | SUBTOTAL | 177092
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 1553.4386
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 9040 | 10.25 | 92660
| 2 | 11" Flex Base (Local) | SY | 10982 | 12.1 | 132882.2
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 10982 | 6.75 | 74128.5
| 4 | 1.5" Type D HMAC (Collector) | SY | 1097 | 8.25 | 9050.25
| 5 | 2.5" Type C HMAC (Collector) | SY | 1097 | 12.5 | 13712.5
| 6 | 17.5" Flex Base (Collector) | SY | 1298 | 16.4 | 21287.2
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 1298 | 7.25 | 9410.5
| 8 | Prime Coat | GAL | 2027.4 | 5 | 10137
| 9 | Curb & Gutter | LF | 9810 | 18 | 176580
| 10 | Valley Gutter | SY | 0 | 40 | 0
| 11 | Temporary Turn-Around | SY | 0 | 15 | 0
| 12 | Ribbon Curb | LF | 160 | 16 | 2560
| 13 | Bollards | EA | 16 | 175 | 2800
| 14 | 6" Sch 40 Conduit | LF | 180 | 24 | 4320
| 15 | 10' Hike & Bike | SY | 0 | 50 | 0
| 16 | Sidewalk | SY | 1067 | 50 | 53350
| 17 | ADA Ramps | EA | 38 | 950 | 36100
| 18 | Mailbox Pads | EA | 9 | 800 | 7200
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 652878.15
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 5727.0013
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 420 | 35 | 14700
| 5 | 5' Inlet | EA | 2 | 5000 | 10000
| 6 | 10' Inlet | EA | 0 | 7500 | 0 |  | 25 FT
| 7 | 20' Inlet | EA | 2 | 15000 | 30000 |  | 25FT
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 135 | 950 | 128250
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 0 | 1050 | 0
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 2 | 15000 | 30000
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 110 | 60 | 6600
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 5395 | 1.1 | 5934.5
[5 empty] | SUBTOTAL | 225484.5
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 1977.9342
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 2824 | 30 | 84720
| 2 | 12" Sanitary Sewer Pipe | LF | 0 | 40 | 0
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 9 | 3600 | 32400
| 5 | Extra Depth Manhole | VF | 18 | 500 | 9000
| 6 | Trench Excavation Protection | LF | 2824 | 1.25 | 3530
| 7 | TV Inspection of Sewer Main | LF | 2824 | 2 | 5648
| 8 | 6" Service Laterals | LF | 3106 | 38 | 118028
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 3 | 1500 | 4500
| 11 | Tie Into Existing Wastewater Line | EA | 0 | 1500 | 0
| 12 | Wastewater Stub-Out | EA | 3 | 1000 | 3000
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 260826
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 2287.9474
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 2647 | 30 | 79410
| 2 | 12" C900 Water Line | LF | 250 | 40 | 10000
| 3 | 8" Ductile Iron Water Line | LF | 270 | 70 | 18900
| 4 | 12" Ductile Iron Water Line | LF | 0 | 80 | 0
| 5 | Trench Excavation Safety Protection | LF | 3167 | 0.75 | 2375.25
| 6 | Fire Hydrant Assembly | EA | 6 | 3300 | 19800
| 7 | 1" Dual Water Service Long | EA | 21 | 875 | 18375
| 8 | 1" Dual Water Service Short | EA | 33 | 600 | 19800 | 114
| 9 | 3/4" Single Water Service Long | EA | 1 | 725 | 725
| 10 | 3/4" Single Water Service Short | EA | 5 | 550 | 2750
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 0 | 910 | 0
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 114 | 250 | 28500
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 3 | 1500 | 4500
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 7 | 1500 | 10500
| 19 | 12" Gate Valve MJ w/ box | EA | 1 | 1800 | 1800
[5 empty] | SUBTOTAL | 233435.25
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 2047.6776
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities | EA | 114 | 2400 | 273600
[5 empty] | SUBTOTAL | 273600
[5 empty] | NUMBER OF LOTS | 114
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 1823315.9
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 91165.795
[5 empty] | SUBTOTAL | 91165.795
|  |  |  | TOTAL COST |  | 1914481.695
|  |  |  | NUMBER OF LOTS |  | 114
|  |  |  | COST PER LOT |  | 16793.6991
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Phase 8
Opinion of Probable Cost
Parkside Subdivision Phase 8
STREET & DRAINAGE, WATER & SEWER IMPROVEMENTS
2020-06-01
Preliminary (No Design)
Preliminary (80% Design)
| X | Construction Plans
|  | Summary | Subtotal |  | Per Lot Subtotal
|  | SW3P & SITEWORK |  | 174739.5 | 2080.2321
|  | STREETS |  | 435260.6 | 5181.6738
|  | STORM DRAIN |  | 150750 | 1794.6429
|  | SEWER |  | 196391.75 | 2337.997
|  | WATER |  | 111425 | 1326.4881
|  | DRY UTILITIES |  | 201600 | 2400
|  | MOBILIZATION, BONDS, PREP. ROW, & INSURANCE |  | 63508.3425 | 756.0517
|  | TOTAL |  | 1333675.1925 | 15877.0856
|  | Lots | 84
Exclusions
Landscape/plantings
Irrigation
Amenities
Street Lighting
Sewer Borings
Impact Fees
Injection Well
Construction Staking
Quality Testing
SW3P & SITEWORK
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation | CY | 25000 | 3.6 | 90000
| 2 | Site Embankment | CY | 25000 | 3 | 75000
| 3 | Curb Inlet Protection (Filter Dike) | EA | 1 | 300 | 300
| 4 | Construction Entrance | EA | 1 | 1300 | 1300
| 5 | Concrete Washout Pit | EA | 1 | 800 | 800
| 6 | Silt Fence | LF | 2151 | 2.5 | 5377.5
| 7 | Clear & Grub/Strip Top Soil | AC | 13.08 | 150 | 1962
| 8 | Rock Filter Berm | LF | 0 | 26 | 0
[5 empty] | SUBTOTAL | 174739.5
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 2080.2321
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) | SY | 5095 | 10.25 | 52223.75
| 2 | 11" Flex Base (Local) | SY | 6271 | 12.1 | 75879.1
| 3 | 6" Lime Stabilized Subgrade (Local) | SY | 6271 | 6.75 | 42329.25
| 4 | 1.5" Type D HMAC (Collector) | SY | 2710 | 8.25 | 22357.5
| 5 | 2.5" Type C HMAC (Collector) | SY | 2710 | 12.5 | 33875
| 6 | 17.5" Flex Base (Collector) | SY | 3180 | 16.4 | 52152
| 7 | 8" Lime Stabilized Subgrade (Collector) | SY | 3180 | 7.25 | 23055
| 8 | Prime Coat | GAL | 1561 | 5 | 7805
| 9 | Curb & Gutter | LF | 4638 | 18 | 83484
| 10 | Valley Gutter | SY | 92 | 40 | 3680
| 11 | Temporary Turn-Around | SY | 0 | 15 | 0
| 12 | Ribbon Curb | LF | 0 | 16 | 0
| 13 | Bollards | EA | 0 | 175 | 0
| 14 | 6" Sch 40 Conduit | LF | 180 | 24 | 4320
| 15 | 10' Hike & Bike | SY | 0 | 50 | 0
| 16 | Sidewalk | SY | 300 | 50 | 15000
| 17 | ADA Ramps | EA | 8 | 950 | 7600
| 18 | Mailbox Pads | EA | 6 | 800 | 4800
| 19 | Street Markings | LS | 1 | 6700 | 6700
[5 empty] | SUBTOTAL | 435260.6
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 5181.6738
Note: | 1) | Street sections are based on Geotechnical Report titled "Subsurface Exploration and Pavement Analysis Proposed New Streets Parkside Subdivision, Phase 1" Dated August 6, 2019.
| 2) | No special pavement was assumed for round-abouts
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc | LS | 0 | 50000 | 0
| 2 | Basin A2 Structure & Misc | LS | 0 | 50000 | 0
| 3 | Basin B Structure & Misc | LS | 0 | 50000 | 0
| 4 | 4' Concrete Pilot Channel | SY | 0 | 35 | 0
| 5 | 5' Inlet | EA | 0 | 5000 | 0
| 6 | 10' Inlet | EA | 1 | 7500 | 7500
| 7 | 20' Inlet | EA | 1 | 15000 | 15000
| 8 | 24" RCP | LF | 0 | 75 | 0
| 9 | 30" RCP | LF | 0 | 150 | 0
| 10 | 36" RCP | LF | 0 | 200 | 0
| 11 | 3'x2' Box Culvert | LF | 0 | 200 | 0
| 12 | 3'x3' Box Culvert | LF | 0 | 300 | 0
| 13 | 4'x2' Box Culvert | LF |  | 850 | 0
| 14 | 4'x3' Box Culvert | LF | 135 | 950 | 128250
| 15 | 5'x3' Box Culvert | LF | 0 | 1150 | 0
| 16 | 6'x3' Box Culvert | LF | 0 | 1300 | 0
| 17 | 8'x5' Box Culvert | LF | 0 | 1050 | 0
| 18 | 9'x4'Box Culvert | LF | 0 | 1050 | 0
| 19 | 10'x4' Box Culvert | LF | 0 | 2700 | 0
| 20 | 4'x4' Junction Box | EA | 0 | 3500 | 0
| 21 | 5'x4' Junction Box | EA | 0 | 4300 | 0
| 22 | 5'x5' Junction Box | EA | 0 | 5000 | 0
| 23 | 7'x4' Junction Box | EA | 0 | 5800 | 0
| 22 | 7'x7' Junction Box | EA | 0 | 9300 | 0
| 24 | 8'x4' Junction Box | EA | 0 | 6500 | 0
| 23 | 8'x8' Junction Box | EA | 0 | 11900 | 0
| 25 | 9'x4' Junction Box | EA | 0 | 7200 | 0
| 26 | Headwall | EA | 0 | 15000 | 0
| 27 | Sidewalk Box | EA | 0 | 8000 | 0
| 28 | Gabbion Mattress | SY | 0 | 60 | 0
| 28 | Storm Retards | SY | 0 | 40 | 0
| 29 | Reveg | SY | 0 | 1.1 | 0
[5 empty] | SUBTOTAL | 150750
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 1794.6429
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe | LF | 1795 | 30 | 53850
| 2 | 12" Sanitary Sewer Pipe | LF | 640 | 40 | 25600
| 3 | 18" Sanitary Sewer Pipe | LF | 0 | 50 | 0
| 4 | Standard Sanitary Manholes | EA | 5 | 3600 | 18000
| 5 | Extra Depth Manhole | VF | 10 | 500 | 5000
| 6 | Trench Excavation Protection | LF | 2435 | 1.25 | 3043.75
| 7 | TV Inspection of Sewer Main | LF | 2435 | 2 | 4870
| 8 | 6" Service Laterals | LF | 2106 | 38 | 80028
| 9 | Connect to Existing Manhole | EA | 0 | 5000 | 0
| 10 | Connect to Existing Stub-Out | EA | 0 | 1500 | 0
| 11 | Tie Into Existing Wastewater Line | EA | 4 | 1500 | 6000
| 12 | Wastewater Stub-Out | EA | 0 | 1000 | 0
| 13 | Concrete Encasement | CY | 0 | 40 | 0
[5 empty] | SUBTOTAL | 196391.75
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 2337.997
WATER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line | LF | 0 | 30 | 0
| 2 | 12" C900 Water Line | LF | 600 | 40 | 24000
| 3 | 8" Ductile Iron Water Line | LF | 0 | 70 | 0
| 4 | 12" Ductile Iron Water Line | LF | 0 | 80 | 0
| 5 | Trench Excavation Safety Protection | LF | 600 | 0.75 | 450
| 6 | Fire Hydrant Assembly | EA | 3 | 3300 | 9900
| 7 | 1" Dual Water Service Long | EA | 21 | 875 | 18375
| 8 | 1" Dual Water Service Short | EA | 19 | 600 | 11400 | 84
| 9 | 3/4" Single Water Service Long | EA | 0 | 725 | 0
| 10 | 3/4" Single Water Service Short | EA | 4 | 550 | 2200
| 11 | 2" Service to Parks | EA | 0 | 1200 | 0
| 12 | Irrigation Meter (At Parks and Channels) | EA | 0 | 910 | 0
| 13 | Domestic Meter (At Parks) | EA | 0 | 910 | 0
| 14 | Meter Boxes | EA | 84 | 250 | 21000
| 15 | Tie-in | EA | 3 | 4000 | 12000
| 16 | 2" Temporary Blow Off | EA | 1 | 1500 | 1500
| 17 | Pipe Fittings | TN | 1 | 4000 | 4000
| 18 | 8" Gate Valve MJ w/ box | EA | 2 | 1500 | 3000
| 19 | 12" Gate Valve MJ w/ box | EA | 2 | 1800 | 3600
[5 empty] | SUBTOTAL | 111425
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 1326.4881
DRY UTILITIES
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities |  | 84 | 2400 | 201600
[5 empty] | SUBTOTAL | 201600
[5 empty] | NUMBER OF LOTS | 84
[5 empty] | COST PER LOT | 2400
[5 empty] | CONSTRUCTION TOTAL | 1270166.85
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 63508.3425
[5 empty] | SUBTOTAL | 63508.3425
|  |  |  | TOTAL COST |  | 1333675.1925
|  |  |  | NUMBER OF LOTS |  | 84
|  |  |  | COST PER LOT |  | 15877.0856
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Offsite with Phase 1
Opinion of Probable Cost
Parkside Off-site Projects (Matching Existing Culvert Size)
STREET & DRAINAGE, AND SEWER IMPROVEMENTS
2019-01-04
| X | Preliminary (No Design)
Preliminary (80% Design)
Construction Plans
|  | Summary | Subtotal |  | Per Lot
|  | TRAFFIC LIGHT |  | 0 | 0
|  | TXDOT IMPROVEMENTS |  | 302625 | 327.8711
|  | PIEPER IMPROVEMENTS |  | 897433.4494 | 972.3006
|  | SEWER |  | 48148.5 | 52.1652
|  | MOBILIZATION, BONDS, PRE ROW, & INSURANCE |  | 62410.3475 | 67.6168
|  | TOTAL |  | 1310617.2969 | 1419.9537
MOBILIZATION, BONDS, PREP. ROW, & INSURANCE
|  |  | Lots | 923
Exclusions
|  | Landscape/plantings |  | Construction Staking
|  | Irrigation |  | Quality Testing
|  | Sewer Borings Under Road |  | Relocation of Water or other Dry Utilities
|  | Impact Fees |  | Pieper Road Pavement widenings NE of round-about
TRAFFIC LIGHT AT INTERSECTION OF PIEPER AND HIGHWAY 46
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
*** | 1 | Traffic Light | LS | 0 | 300000 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 0
*** Note: To be constructed with Phase 4 or before 385 lots per TIA
TXDOT IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Demolish Existing Concrete Channel | SY | 1596 | 20 | 31920
| 2 | 6" Concrete Slope Paving | SY | 500 | 140 | 70000
*** | 3 | Concrete Retaining Wall | SF | 2275 | 20 | 45500
| 4 | Remove Existing Pavement | SY | 40 | 4 | 160
| 5 | 2" Type C Asphalt Pavement (Deceleration Lane) | SY | 405 | 13 | 5265
| 6 | 10" Black Base (Deceleration Lane) | SY | 810 | 90 | 72900
| 7 | Tack Coat | GAL | 162 | 50 | 8100
| 8 | Prime Coat | GAL | 162 | 50 | 8100
| 9 | TxDOT Sidewalk | SY | 55 | 60 | 3300
| 10 | Ribbon Curb | LF | 530 | 16 | 8480
| 11 | Street Markings | LS | 1 | 12000 | 12000
| 12 | Positive TxDOT Barrier (Metal Beam Guard Fence) | LF | 350 | 80 | 28000
| 13 | Traffic Control | LS | 1 | 5400 | 5400
| 14 | Temporary Rock Berm | LF | 100 | 35 | 3500
[5 empty] | SUBTOTAL | 302625
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 327.8711
*** Note: |  | This quantity includes a wall on both sides of the TxDOT Channel. This was done to maximize the flow area of the channel to match existing conditions.
PIEPER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Remove Existing Culverts and Headwalls | LS | 1 | 6000 | 6000
*** | 2 | Existing Culverts Extended (24" RCP) | LF | 120 | 200 | 24000
| 3 | Culvert Headwall TxDOT (PW)(Hw=8') | LS | 4 | 25000 | 100000
| 4 | Rip-Rap | SY | 342.2222 | 140 | 47911.1111
| 5 | Remove Asphalt Pavement | SY | 5075 | 4 | 20300 | 45669.6 | 5074.4 | 5254
| 6 | Demolish Existing Pavement | SY | 990 | 8 | 7920 | 8910 | 990 | 810
| 7 | 2" HMAC Type D | SY | 9151 | 14 | 128114 | 82359 | 9151 | 9730
| 8 | 3" HMAC Type C | SY | 9151 | 10 | 91510
| 9 | 16" Flex Base | SY | 5115 | 13.5 | 69052.5 | 36690 | 4076.6667 | 7500
| 10 | 8" Lime Stabilized Subgrade | SY | 5115 | 8 | 40920
| 11 | Prime Coat | GAL | 1023 | 5 | 5115
| 12 | Ribbon Curb | LF | 2244 |  | 0
| 13 | Curb and Gutter | LF | 872 | 15 | 13080
| 14 | Sidewalk | SY | 2250 | 60 | 135000
| 15 | ADA Ramps | EA | 2 | 1500 | 3000
| 16 | Remove Driveways | SY | 180 | 4.5 | 810
| 17 | Proposed Driveways (Concrete) | SY | 180 | 75 | 13500 |  | Ribbon Curb
| 18 | Driveway Culverts with Safety End Treatment | LF | 360 | 250 | 90000 |  | 240.8
| 19 | Silt Fence | LF | 2260 | 3 | 6780 |  | 1684.65
| 20 | Temporary Rock Berm | LF | 200 | 35 | 7000 |  | -67.54
| 21 | Reveg Ditches | SY | 2735 | 1.2 | 3282 |  | -142.85
| 22 | Remove and replace metal beam guard fence | LF | 800 | 45 | 36000 |  | 1715.06
| 23 | Street Lights | EA | 5 | 3500 | 17500 |  | 27440.96
| 24 | Signage and Striping | LS | 1 | 4500 | 4500
| 25 | Traffic Control (3% of Construction) | LS | 1 | 26138.8383 | 26138.8383
[5 empty] | SUBTOTAL | 897433.4494
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 972.3006
This OPC assumes that the water and dry utilities (Electrical/Cable/Telephone) do NOT need to be relocated
The Pavement section for Pieper Road is assumed to be 24' wide with 2" HMAC, 3" HMAC, 16" Flex base, and 8" Lime Stabilized Subgrade on all widening areas. The existing road's asphalt will be reclaimed into the base and a new 3" course of HMAC overlay is assumed. No Rework of the Existing Road Base is assumed.
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 12" Sanitary Sewer Pipe | LF | 673 | 40 | 26920
| 2 | Standard Sanitary Manhole | EA | 2 | 4500 | 9000
| 3 | Extra Depth Manhole | VF | 12 | 350 | 4200
| 4 | Trench Excavation Protection | LF | 673 | 2.5 | 1682.5
| 5 | TV Inspection of Sewer Main | LF | 673 | 2 | 1346
| 6 | Connect to Existing Manhole | EA | 1 | 5000 | 5000
[5 empty] | SUBTOTAL | 48148.5
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 52.1652
Note: Traffic Control for the installation of this sewer is under the Pieper Improvements Section
[5 empty] | CONSTRUCTION TOTAL | 1248206.9494
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 62410.3475
[5 empty] | SUBTOTAL | 62410.3475
|  |  |  | TOTAL COST |  | 1310617.2969
|  |  |  | NUMBER OF LOTS |  | 923
|  |  |  | COST PER LOT |  | 1419.9537
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.

## Offsite with Phase 4
Opinion of Probable Cost
Parkside Off-site Projects (Matching Existing Culvert Size)
STREET & DRAINAGE, AND SEWER IMPROVEMENTS
2019-01-04
| X | Preliminary (No Design)
Preliminary (80% Design)
Construction Plans
|  | Summary | Subtotal |  | Per Lot
|  | TRAFFIC LIGHT |  | 300000 | 325.0271
|  | TXDOT IMPROVEMENTS |  | 0 | 0
|  | PIEPER IMPROVEMENTS |  | 0 | 0
|  | SEWER |  | 0 | 0
|  | MOBILIZATION, BONDS, PRE ROW, & INSURANCE |  | 15000 | 16.2514
|  | TOTAL |  | 315000 | 341.2784
MOBILIZATION, BONDS, PREP. ROW, & INSURANCE
|  |  | Lots | 923
Exclusions
|  | Landscape/plantings |  | Construction Staking
|  | Irrigation |  | Quality Testing
|  | Sewer Borings Under Road |  | Relocation of Water or other Dry Utilities
|  | Impact Fees |  | Pieper Road Pavement widenings NE of round-about
TRAFFIC LIGHT AT INTERSECTION OF PIEPER AND HIGHWAY 46
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
*** | 1 | Traffic Light | LS | 1 | 300000 | 300000
[5 empty] | SUBTOTAL | 300000
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 325.0271
*** Note: To be constructed with Phase 4 or before 385 lots per TIA
TXDOT IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Demolish Existing Concrete Channel | SY | 0 | 20 | 0
| 2 | 6" Concrete Slope Paving | SY | 0 | 140 | 0
*** | 3 | Concrete Retaining Wall | SF | 0 | 20 | 0
| 4 | Remove Existing Pavement | SY | 0 | 4 | 0
| 5 | 2" Type C Asphalt Pavement (Deceleration Lane) | SY | 0 | 13 | 0
| 6 | 10" Black Base (Deceleration Lane) | SY | 0 | 90 | 0
| 7 | Tack Coat | GAL | 0 | 50 | 0
| 8 | Prime Coat | GAL | 0 | 50 | 0
| 9 | TxDOT Sidewalk | SY | 0 | 60 | 0
| 10 | Ribbon Curb | LF | 0 | 16 | 0
| 11 | Street Markings | LS | 0 | 12000 | 0
| 12 | Positive TxDOT Barrier (Metal Beam Guard Fence) | LF | 0 | 80 | 0
| 13 | Traffic Control | LS | 0 | 5400 | 0
| 14 | Temporary Rock Berm | LF | 0 | 35 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 0
*** Note: |  | This quantity includes a wall on both sides of the TxDOT Channel. This was done to maximize the flow area of the channel to match existing conditions.
PIEPER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Remove Existing Culverts and Headwalls | LS | 0 | 6000 | 0
*** | 2 | Existing Culverts Extended (24" RCP) | LF | 0 | 200 | 0
| 3 | Culvert Headwall TxDOT (PW)(Hw=8') | LS | 0 | 25000 | 0
| 4 | Rip-Rap | SY | 0 | 140 | 0
| 5 | Remove Asphalt Pavement | SY | 0 | 4 | 0 | 45669.6 | 5074.4 | 5254
| 6 | Demolish Existing Pavement | SY | 0 | 8 | 0 | 8910 | 990 | 810
| 7 | 2" HMAC Type D | SY | 0 | 14 | 0 | 82359 | 9151 | 9730
| 8 | 3" HMAC Type C | SY | 0 | 10 | 0
| 9 | 16" Flex Base | SY | 0 | 13.5 | 0 | 36690 | 4076.6667 | 7500
| 10 | 8" Lime Stabilized Subgrade | SY | 0 | 8 | 0
| 11 | Prime Coat | GAL | 0 | 5 | 0
| 12 | Ribbon Curb | LF | 0 |  | 0
| 13 | Curb and Gutter | LF | 0 | 15 | 0
| 14 | Sidewalk | SY | 0 | 60 | 0
| 15 | ADA Ramps | EA | 0 | 1500 | 0
| 16 | Remove Driveways | SY | 0 | 4.5 | 0
| 17 | Proposed Driveways (Concrete) | SY | 0 | 75 | 0 |  | Ribbon Curb
| 18 | Driveway Culverts with Safety End Treatment | LF | 0 | 250 | 0 |  | 240.8
| 19 | Silt Fence | LF | 0 | 3 | 0 |  | 1684.65
| 20 | Temporary Rock Berm | LF | 0 | 35 | 0 |  | -67.54
| 21 | Reveg Ditches | SY | 0 | 1.2 | 0 |  | -142.85
| 22 | Remove and replace metal beam guard fence | LF | 0 | 45 | 0 |  | 1715.06
| 23 | Street Lights | EA | 0 | 3500 | 0 |  | 27440.96
| 24 | Signage and Striping | LS | 0 | 4500 | 0
| 25 | Traffic Control (3% of Construction) | LS | 0 | 0 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 0
This OPC assumes that the water and dry utilities (Electrical/Cable/Telephone) do NOT need to be relocated
The Pavement section for Pieper Road is assumed to be 24' wide with 2" HMAC, 3" HMAC, 16" Flex base, and 8" Lime Stabilized Subgrade on all widening areas. The existing road's asphalt will be reclaimed into the base and a new 3" course of HMAC overlay is assumed. No Rework of the Existing Road Base is assumed.
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 12" Sanitary Sewer Pipe | LF | 0 | 40 | 0
| 2 | Standard Sanitary Manhole | EA | 0 | 4500 | 0
| 3 | Extra Depth Manhole | VF | 0 | 350 | 0
| 4 | Trench Excavation Protection | LF | 0 | 2.5 | 0
| 5 | TV Inspection of Sewer Main | LF | 0 | 2 | 0
| 6 | Connect to Existing Manhole | EA | 0 | 5000 | 0
[5 empty] | SUBTOTAL | 0
[5 empty] | NUMBER OF LOTS | 923
[5 empty] | COST PER LOT | 0
Note: Traffic Control for the installation of this sewer is under the Pieper Improvements Section
[5 empty] | CONSTRUCTION TOTAL | 300000
| 1 | Bonds, Mobilization, Prep ROW, Insurance | % | 5% |  | 15000
[5 empty] | SUBTOTAL | 15000
|  |  |  | TOTAL COST |  | 315000
|  |  |  | NUMBER OF LOTS |  | 923
|  |  |  | COST PER LOT |  | 341.2784
DISCLAIMER:
HMT SHALL NOT BE HELD LIABLE FOR ACCURACY OF QUANTITIES.
CONTRACTOR IS TO BID SIGNED, SEALED AND APPROVED PLAN SET.